PREMISES

MANAGEMENT POLICY

2023/2024

| Approved by Governors : | [Name] | Date: [Date] |
| --- | --- | --- |
| Next review due by: | [Date] ANNUAL |  |

Contents

1. Aims	3

2. Guidance	3

3. Roles and responsibilities	4

4. Inspection and testing	4

5. Risk assessments and other checks	8

6. Monitoring arrangements	9

7. Links with other policies	9

The Department for Education’s (DfE’s) guidance on statutory policies for schools includes ‘premises management documents’. It says that many aspects of school premises require safe management and maintenance, including asbestos, fire safety and statutory testing.

There isn’t a definitive list of the documents required by schools in relation to premises management, as this will vary depending on your particular circumstances. You may already incorporate relevant duties into your health and safety policies and/or risk assessments. However, you may decide to use a premises management policy to set out your approach.

This model policy is based on the DfE’s guidance on good estate management. It’s not intended to be exhaustive, and may not reflect the individual circumstances of your school. You should always seek legal advice to make sure you’re compliant with all regulations that may apply to your particular circumstances.

# 1. Aims

Our school aims to ensure that it:

- Manages its buildings and equipment in an efficient, legally compliant way

- Inspects and tests buildings and equipment regularly, taking into account statutory requirements and best practice recommendations

- Promotes the safety and wellbeing of our staff, pupils, parents and visitors through effective maintenance of buildings and equipment in accordance with the Health and Safety at Work etc. Act 1974

- Maintained schools: Complies with the requirements of the The School Premises (England) Regulations 2012

- If your school has an Early Years Foundation Stage (EYFS) setting: Complies with the requirements of the statutory framework for the EYFS

# 2. Guidance

This document is based on the Department for Education’s guidance on good estate management for schools.

.

3. ROLES AND RESPONSIBILITIES

Adapt this section if necessary, in line with how your school approaches premises management and the delegation of responsibilities for it. Please note:

For maintained schools, both local authorities (LAs) and schools have responsibilities for the repair and maintenance of premises. If you’re a maintained school, check with your LA to confirm any procedures or policies which may be specific to your LA

The governing board, headteacher and site manager will ensure this premises management policy is properly implemented, and that tests and inspections are carried out in accordance with this policy.

The headteacher and site manager are responsible for ensuring relevant risk assessments are conducted and for reporting to the governing board, as required.

The site manager is responsible for:

- Inspecting and maintaining the school premises

- Conducting repairs and maintenance

- Being the first point of contact for any issues with the premises

- Conducting and keeping a record of risk assessments and incident logs related to the school premises

- Liaising with the headteacher about what actions need to be taken to keep the school premises safe

This list is not intended to be exhaustive.

# 4. INSPECTION AND TESTING

We maintain accurate records and details of all statutory tests which are undertaken at our premises. This includes relevant paperwork and certificates.

All requirements and recommendations highlighted in inspection reports and certificates are reviewed and acted on as necessary.

As part of the records of completed works, we include the dates when the works were undertaken and the details of the individual or company who completed them, along with their qualifications/certifications and/or experience.

The table below sets out the issues we inspect, the inspection frequency, and the person responsible for checking each issue and, where appropriate, engaging a suitably qualified person to carry out inspection, testing or maintenance. It covers statutory checks as well as recommended good practice checks from relevant guidance. It is based on the Department for Education’s guidance on good estate management for schools.

| ISSUE TO INSPECT | FREQUENCY | PERSON RESPONSIBLE |
| --- | --- | --- |
| Portable appliance testing (PAT) | Variable, according to risk and how the equipment is constructed. Regular visual inspections where PAT is not required. We will refer to HSE guidance on maintaining portable electric equipment for suggested intervals and types of testing/inspection. | Teresa van Oss |
| Fixed electrical installation tests (including lightning conductors) | Variable, according to the number and severity of faults found at last inspection. Inspection and testing always carried out by a competent person. | Headteacher SBM |
| Emergency lighting | Monthly flash test. 6-monthly condition test (including 3-hour battery test) by a competent person. | CARETAKER |
| Lifts | At least every 6 months for passenger lifts and lift accessories, every 12 months for other lifts (e.g. goods lifts) – always by a competent person. | SERVICE TERRYS LIFTS SLA SBM |
| Gas appliances and fittings | Routinely, in accordance with manufacturer recommendations (or other professional advice if unavailable). Annual safety checks (in line with good practice / required if the premises are used for residential accommodation). All work carried out by a Gas Safe Registered engineer. | SBM |
| Fuel oil storage | Checks at least weekly, with more detailed annual inspections by qualified inspectors. | N/A |
| Air conditioning systems | Inspections by an energy assessor at regular intervals (not exceeding 5 years). Annual certificated inspection to ensure no refrigerant leakage. Bi-annual checks and an annual maintenance schedule (in line with good practice). | SEPT 2024 DUE |
| Pressure systems | No fixed maintenance requirement (our programme takes account of the list on page 44 of the HSE’s Safety of Pressure Systems guidance, and an examination of the system is carried out by a competent person by the date set at the previous examination – see pages 35 to 37 of the HSE guidance). | N/A |
| Legionella checks on all water systems | Risk assessment of each site carried out and reviewed regularly by a competent person. The frequency of monitoring checks varies for evaporative cooling systems, hot and cold water systems and other risk systems – specific details can be found in guidance for each type from the HSE. | TVO CLEARTEACH SLA |
| Asbestos | Regular inspections as part of the asbestos register and management plan. Reviews of the asbestos register annually. Refurbishment and demolition surveys before any refurbishment or demolition work. | PENDING ( h&s ) FOLLOWING KITCHEN BUILD ONGOING |
| Equipment used for working at height | Inspected before use, and at suitable intervals appropriate to the environment it’s used in and how it’s used. In addition, inspections after anything that may affect the safety or stability of equipment, e.g. adverse weather or accidental damage. | CARETAKER ( LADDERS AND LADDERS TRAINING |
| Fire detection and alarm systems | Weekly alarm tests, with a different call point tested each week where applicable. Quarterly and annual inspections and tests by a competent person. Annual fire risk assessment by a competent person also includes the maintenance of fire detection and alarm systems. | CARETAKER |
| Fire doors | Regular checks by a competent person. | CARETAKER |
| Firefighting equipment | Most equipment – extinguishers, fire blankets, hose reels, fixed systems (such as sprinkler systems) and fire service facilities (such as dry risers and access for emergency vehicles) – inspected annually (by a competent person where required) unless manufacturers’ guidelines suggest differently. | EXTERNAL ANNUAL CONTRACT ( CHURCHES FIRE) |
| Extraction systems | Regular removal and cleaning of grease filters and cleaning of ductwork for kitchen extraction systems. Local exhaust ventilation systems (such as those for working with hazardous substances) examined and tested at least every 14 months by a competent person. More routine checks also set out in system logbooks. | n/A |
| Chemical storage | Inventories are kept up-to-date. Risk assessments for the Control of Substances Hazardous to Health (COSHH) are reviewed on a regular basis, plus whenever it’s considered that the original assessment may no longer be valid, or where the circumstances of the work change significantly and may affect employees’ exposure to a hazardous substance (in line with HSE guidance on COSHH assessment). | Caretaker COSHH TRAINED |
| Hydrotherapy pools and swimming pools | In addition to inclusion as part of the legionella checks, we follow the operation and maintenance guidance on pages 32 to 43 of the HSE’s guide for spa-pool systems. Swimming pools are subject to risk assessments and included in legionella checks and COSHH assessments. | N/A |
| Playground and gymnasium equipment | Regular inspections – at least annually, and more regularly where any equipment is used more frequently than normal (e.g. where community use increases how often equipment is used). Outdoor fixed play equipment – periodic and annual inspections by a competent person. | ANNUAL CHECKS PENTAGON SPORTSAFE |
| Tree safety | As part of risk assessment responsibilities, periodic visual checks for stability are carried out, with more detailed assessments if suspected structural faults or other risks are found. | GROUND MAINTENCNACE CONTRACT |
| Radon | Risk assessments including radon measurements will be carried out in all of our above-ground workplaces in radon-affected areas, and all of our below-ground workplaces. Radon measurements will last for 3 months, using radon monitors, in line with Public Health England (now the UK Health Security Agency) radon guidance for schools. Where measurements show radon levels below 300Bq/m3, radon levels will be remeasured at least every 10 years. If significant changes are made to the buildings or work processes, remeasurement will also be considered. For any sites with radon levels above 300Bq/m3 we will work with a radiation protection adviser to manage reduction and decide on risk assessment and remeasurement frequency. |  |

# 5. Risk assessments and other checks

Please refer to our risk assessment policy for information about the school’s approach to risk assessment.

In addition to the risk assessments we are required to have in place (please refer to our risk assessment policy and health and safety policy for more information*), we make sure we have risk assessments in place, regularly updated, to cover:

(Include as applicable)

- Car parking and vehicle/pedestrian segregation

- ELECTRONIC GATES RA

- Traffic management

- BINS

- CLEANING

- CLEANING PRODUCTS

As this model policy is based on the DfE guidance, it focuses on the aspects of premises management covered there. Some schools also set out information on other premises-related topics in their premises management policy or other relevant policies. For example, topics might include security, waste disposal/recycling, cleaning, catering facilities, drainage and evacuations. If you wish to add further sections to this policy, the pre-set text styles along the top of the page can be used to help you adapt and format your policy in line with the current sections.

# 6. Monitoring arrangements

The application of this policy is monitored by the site manager and headteacher through, among other things, visual checks of the school site and equipment, and checks of risk assessments. (You may need to adapt this sentence if you adapted section 3 above.)

Copies of risk assessments and paperwork relating to any checks are kept in the school office.

This policy will be reviewed by the governors  annually  At every review, the policy will be shared with and approved by [the governing board/committee name/governor role/the headteacher].

# 7. Links with other policies

This premises management policy is linked to our:

- Health and safety policy

- Risk assessment policy

List any other related policies you have, if applicable.